Lighting power formulation

The control vector specified discrete output levels for three ceiling-light zones and 24 task lights. Task lights at unoccupied workstations remained off. Each task-light level added 1.5 W, and each ceiling-zone level added 13.2 W. Total lighting power was calculated as:

|  | P = 13.2 ∑j=13Lc,j + 1.5 ∑i=124Lt,i. | (1) |
| --- | --- | --- |

Here, P is the total lighting power in watts; Lc,j is the discrete output level of ceiling-light zone j; and Lt,i is the discrete output level of task light i. The indices j = 1, ..., 3 and i = 1, ..., 24 represent the three ceiling-light zones and 24 workstations, respectively. For an unoccupied workstation, Lt,i = 0.

AUTHOR INPUT: Add the allowable discrete ranges for the ceiling-light and task-light levels.